## Slide 1
⚕
AI-Powered Medical Equipment
Reliability Intelligence Assistant
Architecture, Data Flow & System Design
LangGraph Multi-Agent
GPT-4o mini Guardrails
Hybrid RAG (FAISS + BM25)
DeepEval + LLM-as-Judge
UCI AI4I 2020 Dataset
Capstone Project • Biomedical Engineering AI • React + FastAPI + LangGraph

## Slide 2
System Architecture Overview
Three-tier architecture: React Frontend → FastAPI Backend → Data Layer
FRONTEND (React + Vite)
📊 Dashboard
Stats, charts, failure rates, monthly trends
💬 AI Assistant
LangGraph chat + guardrail badges + logs
📋 Maintenance Records
Paginated, filterable incident table
🚨 Anomaly Detection
Temp / wear / RPM anomaly analysis
🔗 LangGraph Pipeline
Topology diagram + guardrail tester
✅ Evaluation & Judge
DeepEval metrics + LLM-as-judge scores
Axios / CORS
→
BACKEND (FastAPI + Python)
POST /api/query
Full LangGraph pipeline analysis
GET /api/equipment/stats
Dataset stats + chart data
GET /api/maintenance/incidents
Paginated incident records
POST /api/analyze/anomaly
Anomaly detection engine
POST /api/evaluate
DeepEval + LLM-as-judge
POST /api/guardrail/validate
Standalone guardrail test
GET /api/pipeline/schema
LangGraph topology JSON
→
DATA LAYER
🗄 ai4i2020.csv
UCI AI4I 2020 schema 10,000 rows × 14 cols
🔍 FAISS Index
IndexFlatIP · 10k × 384-dim 15 MB on disk
📝 BM25 Index
BM25Okapi keyword index All 10k docs tokenised
📦 Embeddings
all-MiniLM-L6-v2 10k × 384 float32 .npy
⚙ LangGraph State
MedEquipState TypedDict 17 fields per pipeline run
💊 Enriched CSV
medical_equipment_maintenance.csv 32 columns total

## Slide 3
LangGraph Multi-Agent Pipeline — State Machine Data Flow
StateGraph · 8 nodes · Conditional routing (VALID/INVALID) · TypedDict state passed between all nodes
START
Input Guardrail
RAG Retrieval
Retrieval Agent
Reliability Agent
Maintenance Agent
Recommendation Agent
Output Guardrail
END
Rejection Node
END
INVALID
VALID
GPT-4o mini or rule-based Validates relevance, safety, intent, urgency level
FAISS + BM25 α=0.6/0.4 fusion Embedding rerank Metadata filter k×6 candidates
Claude Sonnet or rule-based Equipment focus Query intent Relevant incidents
Claude Sonnet or rule-based Failure rate % Reliability 0-100 Anomaly detection
Claude Sonnet or rule-based Action plan Urgency level Preventive steps
Claude Sonnet or rule-based Final synthesis Risk + confidence Follow-up steps
GPT-4o mini or rule-based Quality 0-100 Safety rating clinical check
MedEquipState TypedDict — 17 fields
query
refined_query
filters
k
alpha
input_guardrail_result
is_valid (router)
retrieved_docs[ ]
retrieval_result{ }
reliability_result{ }
maintenance_result{ }
recommendation_result{ }
output_guardrail_result
error
analysis_mode
execution_log[ ]
node_timings{ }

## Slide 4
Hybrid RAG — Retrieval, Fusion & Embedding Reranking
Phase 1: FAISS vector search + BM25 keyword search → Phase 2: Score fusion (α=0.6/0.4) → Phase 3: Embedding rerank → Phase 4: Metadata filter
PHASE 1 Vector + Keyword
PHASE 2 Score Fusion
PHASE 3 Embedding Rerank
PHASE 4 Filter + Budget
FAISS Vector Search
Model: all-MiniLM-L6-v2 Dim: 384-dimensional Index: IndexFlatIP (inner product = cosine after L2 normalization) Pool: top k×6 candidates Score: cosine similarity
BM25 Keyword Search
Library: rank-bm25 0.2.2 Model: BM25Okapi Tokenize: query.lower().split() get_scores() across 10k docs Pool: top k×6 candidates Score: BM25 relevance
Score Normalization
min-max normalize both vector and BM25 scores to [0, 1] range
Fusion Formula
combined = 0.6 × v_score + 0.4 × b_score
Union of candidate sets from both retrievers Sorted descending by combined score Pool size: k × 6 docs
① Re-encode query SentenceTransformer → unit vector
② For each candidate cosine_sim = query_emb · doc_emb
③ Metadata bonus +0.08 equip type match +0.06 failure type +0.04 hospital unit +0.05 failure context
④ Recency bonus tool_wear / 10000 (max 0.03)
⑤ Final score 0.65 × cosine_sim + 0.25 × hybrid + meta + recency
⑥ Sort → top k×4
equipment_type
Exact match (case-insensitive)
hospital_unit
Exact match
severity
Low/Medium/High/Critical
failure_only
machine_failure == 1
Token Budget
max_tokens = 1200 word_count × 0.75 skip over-budget docs
Output
Top k docs with relevance_score document_text + all metadata
→
→
→
Dataset: 10,000 records · Embedding: all-MiniLM-L6-v2 (384-dim) · Cache: faiss_index.bin + bm25.pkl + embeddings.npy + documents.pkl · Candidate pool k×6 → rerank → filter → top k

## Slide 5
Multi-Agent Equipment Intelligence System
4 AI Agents · Claude Sonnet 4.6 (with intelligent rule-based fallback) · Sequential execution via LangGraph
🔍
Equipment Retrieval Agent
Input:
Query + retrieved docs (up to 8)
Output:
relevant_incidents[] query_intent equipment_focus[] hospital_units_affected time_period
Purpose:
Identifies which equipment types and hospital units are most relevant. Filters noise from retrieved incident pool.
Fallback:
Keyword matching on equipment names; pattern extraction for hospital units and failure types
📈
Reliability Analysis Agent
Input:
Query + docs + retrieval_result
Output:
failure_rate (%) reliability_score (0–100) anomalies[] failure_patterns[] severity_breakdown{}
Purpose:
Computes statistical reliability metrics: failure rate, mean tool wear, temperature anomaly detection, severity distribution.
Fallback:
Threshold-based anomaly detection; statistical aggregation from raw incident data fields
🔧
Maintenance Planning Agent
Input:
Query + docs + reliability_result
Output:
immediate_actions[] scheduled_maintenance[] preventive_measures[] maintenance_urgency
Purpose:
Generates prioritised maintenance plan with immediate vs scheduled vs preventive actions based on severity and failure type.
Fallback:
Rule matrix: failure_type maps to standard maintenance protocol; urge level from severity field
💡
Recommendation Agent
Input:
Query + docs + all 3 prior outputs
Output:
summary root_cause confidence_score (0–100) key_findings[] action_plan[] risk_assessment
Purpose:
Synthesises all upstream analyses into a final recommendation with risk assessment, root cause, and actionable confidence score.
Fallback:
Aggregates rule-based findings; scores confidence from doc count + failure count heuristic
LangGraph StateGraph orchestration · Sequential: Retrieval Agent → Reliability Agent → Maintenance Agent → Recommendation Agent · State shared via MedEquipState TypedDict

## Slide 6
Quality Assurance — Guardrails + DeepEval + LLM-as-Judge
Three-layer QA: Input guardrail → Output guardrail → Post-hoc DeepEval evaluation + LLM-as-judge scoring
🛡 INPUT GUARDRAIL
Model:
GPT-4o mini (rule-based fallback)
Checks:
Medical equipment relevance Harmful pattern detection (regex) Intent classification Urgency: immediate / routine / low
Output:
is_valid → routes pipeline refined_query (improved version) intent, equipment_type, urgency
Patterns:
hack, exploit, bypass, disable, ignore safety, override limit
🛡 OUTPUT GUARDRAIL
Model:
GPT-4o mini (rule-based fallback)
Checks:
Recommendation completeness Clinical safety validation Quality scoring 0–100
Scoring:
+10 ≥ 3 action items +10 ≥ 3 key findings +10 summary ≥ 50 chars +10 confidence ≥ 70% −20/−30 unsafe language
Output:
quality_score (0–100) safety_rating: safe/caution/unsafe is_safe, completeness_check{}
📊 DEEPEVAL RAG METRICS
Answer Relevancy
Recommendation relevant to query? Keyword overlap + entity check
Faithfulness
Answer grounded in retrieved context? Entity traceability scoring
Contextual Precision
Top docs more relevant than lower? Precision@k ordering check
Contextual Recall
Context covers all answer facts? Fact extraction + lookup
⚖ LLM-as-Judge — 4-Dimension Rubric (Total: 0 – 100)
Clinical Safety (0 – 25)
Are recommendations safe for patients and hospital staff? 25: All actions clinically safe; hazardous equipment flagged for shutdown 0 : Recommendation could endanger patients (e.g. continue using failed equipment)
Technical Accuracy (0 – 25)
Are technical details correct and evidence-based? 25: Temperatures, torque, wear values correctly cited from retrieved incidents 0 : Technical claims fabricated or contradict the retrieved incident data
Actionability (0 – 25)
Are recommended actions concrete and immediately implementable? 25: Specific, prioritised steps that biomedical engineers can act on now 0 : Vague or contradictory actions that cannot be carried out in practice
Evidence Basis (0 – 25)
Is the recommendation grounded in retrieved incidents? 25: All claims traceable to specific incidents; no hallucinated data 0 : Ignores retrieved incidents entirely or contradicts the evidence
Judge priority order: GPT-4o mini → Claude Sonnet 4.6 → Rule-based scoring

## Slide 7
Dataset Architecture — UCI AI4I 2020 → Medical Equipment
data_ingestion.py pipeline: Generate ai4i2020.csv (UCI schema) → Enrich with medical context → Build RAG index
ai4i2020.csv (UCI Schema)
10,000 rows × 14 cols UCI ML Repository format Statistical distributions matching real dataset
→
data_ingestion.py (Mapping)
Step 1: Generate UCI CSV Step 2: Map Type→Equipment Step 3: Add medical context Step 4: Save both CSVs
→
medical_equipment _maintenance.csv
10,000 rows × 32 cols All UCI cols retained + 18 medical context cols RAG-ready with full text
→
RAG Index (Cached)
FAISS: 10k × 384-dim BM25: tokenised corpus Embeddings: .npy file Documents: .pkl cache
ai4i2020.csv — Exact UCI Schema (14 columns)
UDI:
Record index 1–10,000
Product ID:
L/M/H prefix + 5-digit num
Type:
L=50% M=30% H=20%
Air temperature [K]:
~300K, std 2K
Process temperature [K]:
Air temp + ~10K
Rotational speed [rpm]:
~1500 rpm, std 200
Torque [Nm]:
~40 Nm, std 10
Tool wear [min]:
0–253 min (uniform)
Machine failure:
1 = failed (~1.9%)
TWF:
Tool Wear Failure
HDF:
Heat Dissipation Failure
PWF:
Power Failure
OSF:
Overstrain Failure
RNF:
Random Failure (~0.1%)
Medical Equipment Mapping (data_ingestion.py)
Type L (50%):
→ Ventilator, Infusion Pump, Patient Monitor
Type M (30%):
→ Ultrasound, ICU Device, Lab Analyzer
Type H (20%):
→ MRI, CT Scanner
TWF / HDF / PWF / OSF / RNF:
→ failure_type (human-readable string)
UDI mod len(options):
→ equipment_id (e.g. MRI001, VEN002)
Equipment type:
→ hospital_unit (e.g. Radiology, ICU)
Machine failure + severity:
→ downtime_hours, maintenance_cost_usd
Technician notes:
5 categories × 4 templates each
Timestamps:
2023-01-01 → 2024-12-31 (random)
Total output cols:
32 columns (14 UCI + 18 enriched)

## Slide 8
Technology Stack
All libraries, versions and roles in the system
FRONTEND
React 18
UI component framework
Vite 8.0
Build tool & dev server
Recharts
BarChart, LineChart, PieChart
Axios
HTTP client for API calls
CSS Grid / Flex
Responsive layout system
BACKEND
FastAPI 0.104
REST API framework
Uvicorn
ASGI server
Pydantic v2
Request / response models
pandas 2.1
DataFrame operations
numpy 1.26
Embedding arithmetic
AI / LLM
Claude Sonnet 4.6
4 AI analysis agents
GPT-4o mini
Input + output guardrails
anthropic ≥0.25
Anthropic API client
openai ≥2.0
OpenAI API client
LangGraph 1.2
StateGraph multi-agent pipeline
RAG / SEARCH
FAISS-CPU 1.7.4
Vector similarity index
sentence-transformers
all-MiniLM-L6-v2 embeddings
rank-bm25 0.2.2
BM25Okapi keyword search
scikit-learn 1.3
ML utilities
numpy (embeddings.npy)
Reranking embedding cache
EVALUATION
DeepEval 4.0.5
RAG quality metrics library
LLM-as-Judge
4-dimension rubric scoring
AnswerRelevancy
DeepEval metric
Faithfulness
DeepEval metric
Contextual metrics
Precision + Recall
DATASET
ai4i2020.csv
UCI AI4I 2020 (10k rows)
medical_equip_maint.csv
Enriched (32 cols)
faiss_index.bin
15 MB FAISS index
embeddings.npy
10k × 384-dim float32
bm25.pkl + documents.pkl
BM25 + doc text cache

## Slide 9
End-to-End Data Flow — User Query to Recommendation
1
User types query in React AI Assistant chat
e.g. 'Critical MRI overheating failure in Radiology unit — recommend maintenance steps'
2
Axios POST /api/query → FastAPI endpoint
Payload: { query, k=5, alpha=0.6, equipment_type?, hospital_unit?, severity?, failure_only? }
3
FastAPI calls run_langgraph_pipeline() → pipeline.invoke(MedEquipState)
Initial state: 17 fields initialised — query, filters, k, alpha; is_valid=False; logs=[]
4
node_input_guardrail() → GPT-4o mini / rule-based
Returns: is_valid=True/False, intent='failure_analysis', urgency='immediate', refined_query='…'
5
node_rag_retrieval() → Hybrid FAISS + BM25 + Embedding Rerank
Returns: retrieved_docs[k] each with relevance_score, document_text, equipment_id, failure_type, …
6
4 × Agent nodes → Claude Sonnet 4.6 / rule-based (sequential via LangGraph edges)
Retrieval → Reliability → Maintenance → Recommendation. Each reads state and writes its result back.
7
node_output_guardrail() → GPT-4o mini / rule-based
Returns: quality_score (0-100), safety_rating='safe/caution/unsafe', approved_recommendation
8
FastAPI maps final LangGraph state → QueryResponse JSON
agent_analysis, guardrails{input+output}, pipeline_log[], node_timings{}, refined_query, processing_time_ms
9
React renders AssistantMessage component
GuardrailBadges + RefinedQueryNote + PipelineLog + KeyFindings + ActionPlan + ScoreCircle

## Slide 10
Requirement Coverage — All Items Implemented
Requirement 1 (Basic) + Requirement 2 (Advanced) + Multi-Agent System + Frontend — fully implemented & verified
✅ REQUIREMENT 1 — Basic
✓ Basic RAG incident retrieval
FAISS IndexFlatIP · all-MiniLM-L6-v2 · 10,000 records
✓ Hybrid search
FAISS α=0.6 + BM25Okapi α=0.4 · normalised score fusion
✓ Semantic search
384-dim sentence embeddings · cosine similarity · cached
✓ Metadata filtering
equipment_type, hospital_unit, severity, failure_only
✓ Root-cause recommendation
recommendation_agent synthesises all 4 agent outputs
✓ Input validation guardrails
GPT-4o mini + rule-based fallback in guardrails.py
✓ Incident similarity ranking
3-phase: hybrid → embedding rerank → metadata filter
✓ Maintenance recommendations
maintenance_agent · prioritised action plans + urgency
✓ API endpoints for integrations
12 REST endpoints via FastAPI with Pydantic validation
✅ REQUIREMENT 2 — Advanced
✓ DeepEval evaluation
evaluation.py · 4 metrics: AnswerRelevancy, Faithfulness, ContextualPrecision, ContextualRecall · /api/evaluate
✓ Anomaly correlation analysis
/api/analyze/anomaly · temp + wear + RPM threshold anomaly detection with correlation report
✓ Reranking (maintenance embs)
rag_system.rerank() · cosine_sim + metadata bonus + recency · 3-phase pipeline in hybrid_search()
✓ LLM-as-judge validation
llm_judge.py · 4-dim rubric 0–100 (Safety/Accuracy/Actionability/Evidence) · /api/judge
✓ Token optimization
_approx_tokens() word-count budget · max_tokens per agent (800-1500) · context truncation in get_context()
✓ Equipment Retrieval Agent
Identifies relevant equipment + query intent
✓ Reliability Analysis Agent
Failure rate, reliability score 0-100, anomalies
✓ Maintenance Planning Agent
Prioritised actions, urgency, preventive measures
✓ Recommendation Agent
Final synthesis, confidence score, root cause
✓ Frontend interface
6-view React app · chat, dashboard, evaluation, pipeline, anomaly detection, maintenance records
Stack: FastAPI · LangGraph 1.2 · DeepEval 4.0 · FAISS · BM25 · sentence-transformers · Claude Sonnet 4.6 · GPT-4o mini · React 18 · UCI AI4I 2020 (10,000 records)